List of documents required from the manufacturer according MID 2014 Art. 18

| Manufacturer's name: | Pietro Fiorentini S.p.A. |
| --- | --- |

| Comma MID | MID definition | Suggested Document to be prepared | Document prepared by the manufacturer | Verification by Notified Body |
| --- | --- | --- | --- | --- |
|  |  |  | Prepared by the manufacturer | Prepared by ON |
|  | Risk analysis document including a description of the following factors: - activity and market sector in which the manufacturer is located company policy - type of market in which it operates (national, European, international) - volume of turnover and % of total related to measuring instrument manufacturing activities | Manufacturer Report | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI-RA-002_Manufacturer_Report_Company_Profile.docx + H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI-RA-001_Risk_Analysis.docx |  |
| 2 a) | Definition of the metrological characteristics） | User Manual and Maintenance guide / Datasheet of commercial presentation | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\Modus Mini - MTXXX-ITA revA.docx |  |
| 2 b) | Reproducibility of the metrological performances of produced measuring instruments when properly adjusted using appropriate intended means |  | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI-MET-2B-001_Riproducibilita_Prestazioni_Metrologiche.docx + H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI-MET-2B-002_Test_Report_Reproducibility_Metrological_Performances.docx |  |
| 2 c) | Integrity of the measuring instrument |  | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI-MET-2C-001_Integrita_Strumento.docx + H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI-MET-2C-002_Technical_Document_Integrity_of_Measuring_Instrument.docx |  |
| 3 a) | General description of the measuring instrument |  | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\Modus Mini - MTXXX-ITA revA.docx |  |
| 3 b) | Conceptual design and manufacturing drawings and plans of components, sub-assemblies, circuits, etc. | Mechanical drawings List of used components List components suppliers | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI-3B-001_Lista_Componenti_Fornitori.docx |  |
| 3 c) | Manufacturing procedures to ensure consistent production | manufacturing procedures | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI-3C-001_Procedure_Fabbricazione.docx |  |
| 3 d) | If applicable, a description of the electronic devices with drawings, diagrams, flow diagrams of the logic and general software information explaining their characteristics and operation | electronic diagrams software flow chart Softwarr desfription according Welmec Guide 7.2 | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI0426 - 001 - PRG - ModusMini_DescrizioneFirmware_MID_revB.docx + H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI0426 - 002 - PRG - ModusMini_Matrice_Funzioni_Metriche.docx + H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI0426 - 003 - PRG - ModusMini_Allegato_Tecnico_Riepilogo_Firmware_Sigilli_Eventi_DLMS.docx + H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\03_Fiorentini_GeniusMonitor\\02_Sorgenti |  |
| 3 e) | Descriptions and explanations necessary for the understanding of the information referred to in points (b), (c) and (d), including the operation of the measuring instrument; | User Manual and Maintenance guide | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\Modus Mini - MTXXX-ITA revA.docx |  |
| 3 f) | A list of the harmonised standards and/or normative documents referred to in Article 14, applied in full or in part, the references of which have been published in the Official Journal of the European Union; | User Manual and Maintenance guide | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\Modus Mini - MTXXX-ITA revA.docx + H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI-3G-002_Technical_Documentation_Solutions_Adopted_Without_Harmonised_Standards.docx |  |
| 3 g) | Descriptions of the solutions adopted to meet the essential requirements where the harmonised standards and/or normative documents referred to in Article 14 have not been applied, including a list of other relevant technical specifications applied | Technical documentation | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI-3G-001_Soluzioni_Alternative_Standard.docx + H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI-3G-002_Technical_Documentation_Solutions_Adopted_Without_Harmonised_Standards.docx |  |
| 3 h) | Results of design calculations, examinations, etc. | User Manual and Maintenance guide | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\Descrizione_Algoritmo_Di_Linearizzazione.docx |  |
| 3 i) | The appropriate test results, where necessary, to demonstrate that the type and/or the measuring instruments comply with the following: | \ | N/A test performed by Notified Body |  |
|  | - The requirements of this Directive under declared rated operating conditions and under specified environmental disturbances | Test report | N/A test performed by Notified Body |  |
|  | - The durability specifications for gas-, water-, thermal energy-meters as well as for liquids other than water; | Test report | N/A test performed by Notified Body |  |
| 3 j) | The EU-type examination certificates or EU design examination certificates in respect of measuring instruments containing parts identical to those in the design | EC Type examination certificate EC project examination certificate | To be issued by Notified Body |  |
| 4 | The manufacturer shall specify where seals and markings have been applied | Sealing Plan | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI0426 - 003 - PRG - ModusMini_Allegato_Tecnico_Riepilogo_Firmware_Sigilli_Eventi_DLMS.docx + H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\Modus Mini - MTXXX-ITA revA.docx |  |

| 5 | The manufacturer shall indicate the conditions for compatibility with interfaces and sub-assemblies, where relevant | Technical documentation | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI-5-001_Compatibilita_Interfacce.docx + H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI-5-002_Technical_Documentation_Compatibility_with_Interfaces_and_SubAssemblies.docx |  |
| --- | --- | --- | --- | --- |
| Art.19 | EU declaration of conformity according annex XIII | Declaration conformity to | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\DC-MODUS-MINI-2026-001_Dichiarazione_Conformita_UE.docx + H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\DC-MODUS-MINI-2026-002_EU_Declaration_of_Conformity_Annex_XIII.docx |  |
| Art.20 | General principles of the CE marking and of the supplementary metrology marking 志 | Labels containing the requirements of metrological instrument | H:\\Life_OS\\01_Lavoro\\02_ProgettiClienti\\05_Fiorentini_ModusMini\\05_Certificazione\\NTI-20-001_Etichette_Marcatura_CE.docx |  |

| Manufacturer | Pietro Fiorentini S.p.A. |
| --- | --- |
| Date: | 19/05/2026 |
| Sign: |  |

| ON |  |
| --- | --- |
| Date: |  |
| Sign: |  |

ALLEGATO - NORMATIVE MID (RIFERIMENTI E APPLICABILITA')

Scopo

Il presente allegato integra la lista documentale del Modulo B con i riferimenti normativi MID applicabili al prodotto, al fine di garantire completezza della pratica di certificazione UE del tipo.

Riferimenti principali

- Direttiva 2014/32/UE (MID) e successive modifiche.

- Norme armonizzate applicabili alla specifica famiglia di strumenti.

- Raccomandazioni e guide WELMEC pertinenti al modulo di valutazione scelto.

- Disposizioni nazionali di recepimento vigenti nel Paese di immissione sul mercato.

Campo di applicazione

Le prescrizioni sono applicate a progettazione, verifiche metrologiche, gestione della produzione e tracciabilita dei componenti che influenzano la conformita MID.

DOCUMENTAZIONE RICHIESTA A SUPPORTO DELLA CONFORMITA' MID

1. Fascicolo tecnico

Descrizione generale del prodotto, disegni costruttivi, schemi, distinta base e logiche funzionali rilevanti ai fini metrologici.

2. Analisi dei rischi metrologici

Valutazione dei rischi che possono influenzare accuratezza, stabilita e ripetibilita della misura.

3. Piano prove e rapporti di test

Piani di prova, risultati, criteri di accettazione e tracciabilita agli strumenti campione.

4. Gestione software rilevante

Versionamento software/firmware, controllo modifiche e misure di protezione contro alterazioni non autorizzate.

5. Marcature e informazioni utente

Bozze etichetta, marcatura CE/MID, identificazione organismo notificato, manuale d'uso e installazione.

6. Controllo produzione

Procedure interne di controllo, criteri di collaudo finale e registrazioni di conformita lotto/prodotto.

CHECKLIST OPERATIVA PER RACCOLTA E VALIDAZIONE DOCUMENTI

- Confermare il modulo di valutazione della conformita applicato e relativo perimetro.

- Verificare coerenza tra disegni, distinta base e versione firmware oggetto di prova.

- Accertare presenza dei rapporti di prova completi e firmati.

- Verificare la tracciabilita delle apparecchiature utilizzate per i test metrologici.

- Controllare completezza di manuali, istruzioni e indicazioni di marcatura.

- Registrare eventuali scostamenti e definire piano azioni correttive con responsabili e date.

- Eseguire riesame finale del fascicolo prima della trasmissione all'organismo notificato.

Nota

I contenuti del presente allegato devono essere adattati al tipo di strumento MID effettivamente certificato e alle eventuali richieste specifiche dell'organismo notificato.

NORME MID DISPONIBILI IN ARCHIVIO INTERNO

Riferimenti individuati nella cartella tecnica: H:/Life_OS/01_Lavoro/05_RisorseTecniche/01_Normative/Norme

- Direttiva 2014/32/UE: Direttiva 200_22_CE (MID)/2014_32_UE.pdf

- Direttiva MID rifusione: Direttiva 2014-32-UE/direu32_2014.pdf

- Recepimento nazionale MID: Decreto Legislativo 19 Maggio 2016 N 84.pdf

- Storico MID: Direttiva 200_22_CE (MID)/dirce_22_2004.pdf

- Guida software MID: WELMEC 7_2/WELMEC_Guide_7.2_v2021.pdf

- Guida software MID (aggiornata): WELMEC 7_2/WELMEC_Guide_7.2_version_v2022.pdf

- Guida strumenti automatici: WELMEC 11_1/WELMEC_Guide_11.1_v2020.pdf

- Norme settore gas in archivio (se applicabili al prodotto): UNI EN 14236, UNI 12405-3, UNI EN ISO 6976, UNI/TS 11291

Nota operativa

Prima dell'emissione finale della lista documentale, verificare edizione vigente, eventuale sostituzione normativa e applicabilita specifica al tipo strumento (MI-xxx).